10B Timber Lane, Marlboro, NJ 07746 • (732) 780-5300 • FAX: (732) 294-0001 • www.tandcplastics.com

| ADA Compliant Stone-Like Solid Epoxy Drop-In Sinks |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item # | Outlet Location | WGT. | Inside Diameter A (in) | Inside Diameter B (in) | Inside Diameter C (in) | Outside Diameter D (in) | Outside Diameter E (in) | Outside Diameter F (in) | Outlet G (in) | Outlet H (in) |
| A-05 | CORNER | 18 | 14 | 10 | 5 | 15.6 | 11.6 | 5.8 | 3.5 | 3.5 |
| A-07 | CORNER | 24 | 14 | 14 | 5 | 15.6 | 15.6 | 5.8 | 3.5 | 3.5 |
| A-25 | CORNER | 35 | 18 | 15 | 5 | 19.6 | 16.6 | 5.8 | 3.5 | 3.5 |
| A-26 | CORNER | 39 | 18 | 15 | 5/11 | 19.6 | 16.6 | 12 | 5.5 | 4.5 |
| A-55 | CORNER | 47 | 25 | 15 | 4.8 | 26.6 | 16.6 | 5.8 | 3.5 | 3.5 |