Outstanding features:

- 5-60% MC range depending on species/temperature

- Built in wood species corrections for 69 species of wood

- Built in temperature compensation over the range of 0° to 255° F (-18° to 124°C)

- Integral contact pins mounted on top of meter provide 5/16” penetration

- Connector for external electrode

- On-screen reading recall of up to 1400 readings

- Date and time stamp for each stored reading

- Job groupings

- Optional infrared linking capability w/ application software*

- 0.1% MC resolution

- Operating Temperature -4°to158°F (-20° to 70°C)

- 9V battery

- 1-year warranty

- Carry case

Various packages available to meet your specific needs:

With Case:  Includes meter, carrying case, and additional contact pins. Order as RDM3W/CS

RDM3/PKG:

The RDM3 package includes the meter, 26-ES electrode, extra contact pins for the meter, extra #496 pins for the 26-ES electrode and carrying case. Order as RDM3/PKG

RDM3 PLUS:

Includes everything in the RDM3/PKG, PLUS the I/R interface and base unit. This is the most complete package available and enables you to download stored readings via I/R to a PC or laptop. Order as RDM3/Plus

*The application software program is optional for the RDM3W/CS and RDM3/PKG and comes standard with the RDM3 PLUS