Model TechCheck-Plus

Proposed product copy for distributor websites / catalogs

Rev. 7/14

TechCheck PLUS -  2-in-1 moisture meter - Simplicity Just Got Better!

• Delmhorst Only Drywall scale displays %MC

• Spanish language option

• Meter measures through built-in pins, pinless scanner and optional pin electrodes

• Back lit display – makes it easy to read in dark areas

• HOLD function – freezes readings that are taken in hard-to-reach areas

• User adjustable alarm – lets you know when a preselected moisture threshold is reached

| Specifications |  |
| --- | --- |
| Moisture Range | Wood Scale: 5 to 60% for wood Drywall Scale: 0.1 to 6% - A Delmhorst exclusive, new to TechCheck Scan Mode: 0 to 300 reference scale for all other building materials |
| Moisture Accuracy | +/- 0.5% from 12 to 20%, +/- 2.0% from 20 to 30% |
| Operating Temperature Range | -4 to 158°F/-20 to 70°C |
| Alarm | Audible and user adjustable to alert you when a pre-selected moisture content has been reached |
| Display | Digital with 0.1% resolution |
| Power | One 9 V battery (included) |
| Dimensions (W x H x D) | 3”W x 7”H x 1 3/4” D |

TechCheck Plus Package Variations:

TechCheck Plus: Includes meter, carrying case and additional contact pins. Order as TECHCHECK+W/CS

TechCheck PLUS Insulation package: Includes meter, 21-E electrode, extra contact pins for the meter, and carrying case. Order as TECHCHECK+/PKG