## 1 - Calibration Log Sample
SAMPLE CALIBRATION LOG
Gage ID | Description | Last Calibration | Next Calibration Due | Vendor | Status | Location | Notes
TGM30 | M12X1.5 -6H GO/NO GO GAGE | 2018-08-20 | 2019-08-20 | MICRON | in HOUSE | QC lab shelf A
TGUNC-STI12 | 3/8 -16 UNC-2B STI GO/NO GO GAGE | 2018-10-04 | 2019-10-04 | Fox Valley | IN HOUSE | QC lab shelf A
TGUNC-STI07 | 4-40 UNC-2B STI GO/NO GO GAGE | 2018-10-04 | 2019-10-04 | Fox Valley | IN HOUSE | QC lab shelf A
MIC07 | 1-2" .001 PIn MICROMETER | 2019-01-24 | 2020-01-24 | IN HOUSE | IN HOUSE | QC toolbox Drawer 1
MIC08 | 1-2" PITCH MICROMETER | 2019-01-24 | 2020-01-24 | IN HOUSE | IN HOUSE | QC toolbox Drawer 1
MIC09 | 0-1" BLADE MICROMETER | 2019-01-24 | 2020-01-24 | IN HOUSE | IN HOUSE | QC toolbox Drawer 3
GP03 | .1245 DELTRONICS GAGE PIN | Before | Each use | IN HOUSE | IN HOUSE | QC toolbox Drawer 2
GP04 | .0110 - .7500 VERMONT GAGE PIN SET | Before | Each use | IN HOUSE | IN HOUSE | QC toolbox Drawer 2
GP12 | .0926 - .0950 DELTRONICS PIN SET | 2018-04-11 | 2019-04-11 | IN HOUSE | IN HOUSE | QC toolbox Drawer 2
GP13 | .1863 - .1887 DELTRONICS PIN SET | 2018-04-11 | 2019-04-11 | IN HOUSE | IN HOUSE | QC toolbox Drawer 2
GB03 | 36 PC BORE GAGE SETTING BLOCKS | Before | Each use | IN HOUSE | IN HOUSE | QC toolbox Drawer 3
GB04 | 36 pc Gage Block Set | Before | Each use | IN HOUSE | IN HOUSE | QC toolbox Drawer 3
CAL09 | 1-8" DIGITAL CALIPERS | 2018-03-12 | 2019-03-12 | IN HOUSE | IN HOUSE | QC toolbox Drawer 3
CAL10 | 1-8" DIGITAL CALIPERS | 2018-08-01 | 2019-08-01 | IN HOUSE | IN HOUSE | Quarentine | Needs repair
HG01 | DIGITAL MITUTOYO, 24" HEIGHT GAGE | Before | Each Use | IN HOUSE | IN HOUSE | QC toolbox Drawer 1
P1 | PROFILOMETER ROUGHNESS TESTER | Before | Each use | IN HOUSE | IN HOUSE | QC toolbox Drawer 1