## Sheet1
Bosch GV4 to G Series Alarm Panel Replacement Guide
rev 10/11/2019
GV4 Panel |  | G Series Panel Replacement
D7412GV4 | 75 Point Intrusion/Fire/Access Control Panel | B8512G | 99 Point, 8 Doors Intrusion/Fire/Access Control Panel
D9412GV4 | 246 Point Intrusion/Fire/Access Control Panel | B9512G | 599 Point, 32 Doors Doors Intrusion/Fire/Access Control Panel
D9412GV4-C | Control/Communicator 246 Points w/ Lock, Encl & Xfrmr | B9512G-C | Kit includes B9512G, B8103, D1640, D101
GV4 Module |  | G Series Module Replacement
B426 | Ethernet adapter board (IP reporting) | G Series Panels Include Onboard Ethernet Communicator
D110 | Switch, Tamper | ICP-EZTS | DUAL TAMPER SWITCH
D122L | Dual Battery Harness w/ Long Battery Leads | Not necessary
D1255 | Keypad, Command Center, Alpha IV | B942 | COLOR GRAPHIC TOUCH SCREEN KEYPAD WITH PROX (BLACK)
D161 | Phone Cord-7ft Dual Modular | Not necessary
D1640 | System Transformer rated at 16.5 VAC, 40 VA | Not necessary
D166 | RJ31X Phone Jack, Line Seizure | B430 | Plug-in Communicator, Telephone
D55 | Keypad Desk Stand for Command Center Console | Not necessary
D56 | Keypad Enclosure for Command Center Console | Not necessary
D8103 | Enclosure, Universal (16" X 16" X 3.5") | B8103 | Enclosure, Universal (16" X 16" X 3.5")
D8108A | Enclosure, Attack Resistant w/ Lock & Key (16" X 16" X 3.5") | Not necessary
D8125 | Output expansion Module for addessable points and detectors | B299 | Popex module for B9512G and B8512G
D8128D | 8 Input OctoPOPIT point expander | B208 | 8 Input module for SDI2 bus
D8129 | 8 Output Octorelay Module | B308 | 8 relay module for SDI2 bus
D9002-5 | Mounting Skirt, Six 3X5, 5/Pkg | Not necessary
D9127T | Module, POPIT - w/ Tamper | D9127T | Module, POPIT - w/ Tamper
ISW-D8125CW-V2 | Wireless Interface Module for Radionics | B820 | SDI2 INOVONICS INTERFACE
n/a | n/a | B600 | ZONEX MODULE FOR D8128D and D8129
n/a | n/a | B920 | 2 LINE ALPHA NUMERIC KEYPAD (SD12)
n/a | n/a | B444 | PLUG-IN CELLULAR MODULE, VERIZON LTE, HOT
n/a | n/a | ENKIT-SDI2 | SDI2 INOVONICS INTERFACE KIT- INCLUDES B820 AND EN4200 RECEIVER
n/a | n/a | B520-C | B520 POWER SUPPLY WITH TR1850 TRANSFORMER, B8103 ENCLOSURE AND B12 MOUNTING PLATE
n/a | n/a | B520 | SDI2 AUXILIARY POWER SUPPLY 2.0 AMPS
n/a | n/a | B99 | USB CABLE FOR B SERIES PROGRAMMING AND SERVICE
Bosch Intrusion Detection Online Catalog LINK >>
support@midches.com ¦ 410.612.9640 ¦ 610-361-0500